## Tehnicka specifikacija
PRILOG A KONKURSNE DOKUMENTACIJE - TEHNIČKA SPECIFIKACIJA - SERVISIRANJE I UGRADNJA - POTROŠNI MATERIJAL I REZERVNI DELOVI ZA APARAT - ATOMSKO-APSORPCIONI SPEKTROFOTOMETAR PERKIN ELMER za potrebe Departmana za hemiju, biohemiju i zaštitu životne sredine i LAMBDA 950 PERKIN ELMER za potrebe Departmana za fiziku
Redni broj | Kataloški broj | Naziv usluge koja se traži, odnosno zamena navedenog rezervnog dela | Očekivani broj usluga u periodu važenja ugovora (godinu dana od dana zaključenja)
ATOMSKO-APSORPCIONI SPEKTROFOTOMETAR PERKIN ELMER za potrebe Departmana za hemiju, biohemiju i zaštitu životne sredine
1 | N3050102 | AG LUMINA HCL | 1
2 | N3050103 | AL LUMINA HCL- | 1
3 | N3050105 | AS LUMINA HCL | 1
4 | N3050107 | AU LUMINA HCL' | 1
5 | N3050108 | В LUMINA HCL | 1
6 | N3050109 | BA LUMINA HCL | 1
7 | N3050110 | BE LUMINA HCL | 1
8 | N3050111 | BI LUMINA HCL | 1
9 | N3050114 | CA LUMINA HCL- | 1
10 | N3050115 | CD LUMINA HCL' | 1
11 | N3050118 | CO LUMINA HCL' | 1
12 | N3050119 | CR LUMINA HCL' | 1
13 | N3050121 | CU LUMINA HCL' | 1
14 | N3050122 | DY LUMINA HCL' | 1
15 | N3050123 | ER LUMINA HCL | 1
16 | N3050124 | EU LUMINA HCL' | 1
17 | N3050126 | FE LUMINA HCL' | 1
18 | N3050128 | GA LUMINA HCL | 1
19 | N3050129 | GD LUMINA HCL' | 1
20 | N3050130 | GE LUMINA HCL | 1
21 | N3050133 | HF LUMINA HCL | 1
22 | N3050134 | HG LUMINA HCL | 1
23 | N3050135 | HO LUMINA HCL' | 1
24 | N3050137 | IN LUMINA HCL | 1
25 | N3050138 | IR LUMINA HCL' | 1
26 | N3050139 | K LUMINA HCL' | 1
27 | N3050141 | LA LUMINA HCL- | 1
28 | N3050142 | LI LUMINA HCL' | 1
29 | N3050144 | MG LUMINA HCL | 1
30 | N3050145 | MN LUMINA HCL | 1
31 | N3050146 | MO LUMINA HCL- | 1
32 | N3050148 | NA LUMINA HCL | 1
33 | N3050149 | NB LUMINA HCL | 1
34 | N3050150 | ND LUMINA HCL | 1
35 | N3050152 | NI LUMINA HCL | 1
36 | N3050155 | P LUMINA HCL | 1
37 | N3050157 | PB LUMINA HCL | 1
38 | N3050158 | PD LUMINA HCL | 1
39 | N3050161 | -PR LUMINA HCL | 1
40 | N3050162 | PT LUMINA HCL | 1
41 | N3050165 | RE LUMINA HCL | 1
42 | N3050166 | RH LUMINA HCL | 1
43 | N3050168 | RU LUMINA HCL | 1
44 | N3050170 | SB LUMINA HCL | 1
45 | N3050171 | SC LUMINA HCL | 1
46 | N3050172 | SE LUMINA HCL | 1
47 | N3050173 | SI LUMINA HCL | 1
48 | N3050174 | SM LUMINA HCL | 1
49 | N3050175 | SN LUMINA HCL- | 1
50 | N3050176 | SR LUMINA HCL | 1
51 | N3050177 | TA LUMINA HCL | 1
52 | N3050178 | TB LUMINA HCL | 1
53 | N3050180 | TE LUMINA HCL | 1
54 | N3050182 | TI LUMINA HCL | 1
55 | N3050183 | TL LUMINA HCL | 1
56 | N3050184 | TM LUMINA HCL | 1
57 | N3050186 | V LUMINA HCL | 1
58 | N3050187 | W Lumina HCL | 1
59 | N3050189 | Y LUMINA HCL | 1
60 | N3050190 | YB LUMINA HCL | 1
61 | N3050191 | ZN LUMINA HCL' | 1
62 | N3050192 | ZR LUMINA HCL | 1
63 | N3050201 | AG-AU LUMINA HCL | 1
64 | N3050202 | CA-MG LUMINA HCL | 1
65 | N3050203 | CA-ZN LUMINA HCL' | 1
66 | N3050204 | K-NA LUMINA HCL | 1
67 | N3050205 | PT-RU LUMINA HCL | 11
68 | N3050206 | SN-TE LUMINA HCL- | 1
69 | N3050207 | AL-CA-MG LUMINA HCL | 1
70 | N3050208 | CA-MG-ZN LUMINA HCL' | 1
71 | N3050209 | CU-FE-NI LUMINA HCL' | 1
72 | N3050210 | AG-CR-CU-NI LUMINA HCL | 1
73 | N3050211 | AL-CU-FE-TI LUMINA HCL | 1
74 | N3050212 | CU-FE-MN-ZN LUMINA HCL' | 1
75 | N3050213 | AG-CR-CU-FE-NI LUMINA HCL- | 1
76 | N3050214 | CO-CR-CU-MN-NI LUMINA HCL- | 1
77 | N3050215 | CO-CU-FE-MN-MO LUMINA HCL | 1
78 | N3050216 | AG-AL-CR-CU-FE-MG LUMINA HCLG' | 1
79 | N3050217 | CO-CR-CU-FE-MN-NI LUMINA HCL | 1
80 | N3050218 | -AL-CA-CU-FE-MG-SI-ZN LUMINA HCL' | 11
81 | B3001485 | VALVE KIT RINSE PUMP | 1
82 | B3001500 | AUTOSAMPLER AS 800 | 1
83 | B0198072 | COOLING SYSTEM 4100 | 1
84 | B3121302 | READ CABLE | 2
85 | B0502706 | RLTER-AIR-FIAS-AMALGAM | 2
86 | B0501696 | ACRYLATE FELT FILTER (pack of 10) | 20
87 | B0105197 | UNGROOVED GRAPHITE TUBES PK/5 | 20
88 | B3001254 | GROOVED PYROCOATED TUBES BX/20 | 20
89 | B0109322 | PYROCOATED TUBES GROOVED BX 50 | 20
90 | B0137111 | GROOVED PYROCOATED GRAPHITE TUBES PK/5 | 20
91 | B3001264 | PYROCOATED GRAPHITE TUBE HGA PK/20 | 1
92 | B3120502 | CONTROLLER BOARD M4200 | 1
93 | B3120523 | LAMP CONTROLLER BOARD* | 1
94 | B3121237 | DIODE SENSOR SED2 3RD BOARD | 1
95 | B3120536 | PCB IEEE CONTROLLER BO | 1
96 | B3120486 | IGNITER TUBE | 1
97 | N0370394 | UNIVERSAL GEMTIP NEBULIZER | 1
98 | N0370392 | END CAP--PRE FALL 1999 AA 1/3/7/800S | 1
99 | 572561 | FLOW SPOILER | 1
100 | B3120698 | FLAME GAS BOX COMPLETE | 1
101 | B3121015 | ATOMIZER EXCHANGER CONTRL | 1
102 | B3120670 | COOLING CHAMBER LEFT | 1
103 | B3120671 | COOLING CHAMBER RIGHT | 1
104 | B3120683 | HGA FURACE WINDOW RETAINER | 1
105 | B3120599 | CABLE ASSY FURNACE SENSORS HGA | 1
106 | B3130060 | FURNACE GAS BOX HGA | 1
107 | B3120046 | POWER SUPPLY - HGA | 1
108 | B3001515 | PIPETTE MOTOR ASSY | 1
109 | B3002046 | AS-800 SAMPLING ARM | 1
110 | B3001324 | SAMPLE PUMP CPL | 10
111 | B3001566 | SAMPLE CUPS 2.5 ML-OTY. 1000 | 10
112 | B3001567 | SAMPLE CUPS 7ML PK/100 | 1
113 | B3120397 | CELL HEATER, MHS AANALYST | 1
114 | N9300141 | STD-AS POTASSIUM 1000PPM/HN03 | 1
115 | N9300142 | STD-AS PRASEODYMIUM lOOOPPM/HN | 1
116 | N9300143 | STD-AS RHENIUM 1000PPM/WATER | 1
117 | N9300144 | STD-AS RHODIUM lOOOPPM/HCL | 1
118 | N9300145 | STD-AS RUBIDIUM 1000PPM/HN03 | 1
119 | N9300146 | STD-AS RUTHENIUM lOOOPPM/HCL | 1
120 | N9300147 | -STD-AS SAMARIUM 1000PPM/HN03 | 1
121 | N9300148 | STD-AS SCANDIUM 1000PPM/HN03 | 1
122 | N9300149 | STD-AS SELENIUM 1000PPM/HN03 | 1
123 | N9300150 | STD-AS SILICON 1000PPM/H20 | 1
124 | N9300151 | STD-AS SILVER 1000PPM/HN03 | 1
125 | N9300152 | STD-AS SODIUM 1000PPM/HN03 | 1
126 | N9300153 | STD-AS STRONTIUM 1000PPM/HN03 | 1
127 | N9300154 | STD-AS SULFUR 1000PPM/H20 | 1
128 | N9300155 | STD-AS TANTALUM 1000PPM/H20 | 1
129 | N9300156 | V4D-AS TELLURIUM 1000PPM/HN03 | 1
130 | N9300157 | STD-AS TERBIUM 1000PPM/HN03 | 1
131 | N9300158 | STD-AS THALLIUM 1000PPM/HN03 | 1
132 | N9300160 | STD-AS THULIUM 1000PPM/HN03 | 1
133 | N9300161 | STD-AS TIN lOGOPPM/HCL | 1
134 | N9300162 | STD-AS TITANIUM 1000PPM/H20 | 1
135 | N9300163 | STD-AS TUNGSTEN 1000PPM/H20 | 1
136 | N9300165 | STD-AS VANADIUM 1000PPM/HN03 | 1
137 | N9300166 | STD-AS YTTERBIUM 1000PPM/HN03 | 11
138 | N9300167 | STD-AS YTTRIUM 1000PPM/HN03 | 1
139 | N9300168 | STD-AS ZINC 1000PPM/HN03 | 1
140 | N9300169 | STD-AS ZIRCONIUM 1000PPM/HN03 | 1
141 | N9300170 | STD-THALLIUM 1000 РРМ-100 ML | 1
142 | B0114620 | Tungesten Halogen Lamp Assembly | 1
143 | L6022728 | UV Lamp Complete Elp | 1
144 | PEU\9057 | 1.25in Calibrated White Standard | 1
145 | B0505982 | Sample Compartment Window for L900 | 1
146 | B0119371 | Knurled Screw Complete | 1
147 | B0505071 | Vessel Holder Complete Lambda | 1
148 | B0166569 | Cable Lambda 2 to EX 800 | 1
149 | B0155573 | FUSE INSERT DIN41662 | 1
150 | B0080822 | Solid Sample Holder | 1
151 | B0631134 | Cell, 10mm, LID, 0-Glass | 1
152 | L6100050 | Database Application Software Kit | 1
153 | N1010504 | Calibrated Reference Mirror, Disposable | 1
154 | B2500099 | Standard set for Stray Radiation | 1
155 | N9300100 | STD-AS ALUMINUM 1000PPM/HN03 | 1
156 | N9300101 | STD-AS ANTIMONY 1000PPM/HN03 | 1
157 | N9300102 | STD-AS ARSENIC 1000PPM/HN03 | 1
158 | N9300103 | STD-AS BARIUM 1000PPM/HN03 | 1
159 | N9300104 | STD-AS BERYLLIUM 1000PPM/HN03 | 1
160 | N9300105 | STD-AS BISMUTH 1000PPM/HN03 | 1
161 | N9300106 | -STD-AS BORON 1000PPM/H20 | 1
162 | N9300107 | STD-AS CADMIUM 1000PPM/HN03 | 1
163 | N9300108 | STD-AS CALCIUM 1000PPM/HN03 | 1
164 | N9300109 | STD-AS CARBON 1000PPM/H20 | 1
165 | N9300110 | STD-AS CERIUM 1000PPM/HN03 | 1
166 | N9300111 | TD-AS CESIUM 1000PPM/HN03 | 1
167 | N9300112 | STD-AS CHROMIUM 1000PPM/HN03 | 1
168 | N9300113 | STD-AS COBALT 1000PPM/HN03 | 1
169 | N9300114 | STD-AS COPPER 1000PPM/HN03 | 1
170 | N9300115 | STD-AS DYSROSIUM 1000PPM/HN03 | 1
171 | N9300116 | STD-AS ERBIUM 1000PPM/HN03 | 1
172 | N9300117 | STD-AS EUROPIUM 1000PPM/HN03 | 1
173 | N9300118 | STD-AS GADOLINIUM 1000PPM/HN03 | 1
174 | N9300119 | STD-AS GALLIUM 1000PPM/HN03 | 1
175 | N9300120 | std-as qermanium0000PPM/H20 | 1
176 | N9300121 | STD-AS GOLD lOOOPPM/HCL | 1
177 | N9300122 | STD-AS HAFNIUM lOOOPPM/HCL | 1
178 | N9300123 | STD-AS HOLMIUM 1000PPM/HN03 | 1
179 | N9300124 | STD-AS INDIUM 1000PPM/HN03 | 1
180 | N9300125 | STD-AS IRIDIUM lOOOPPM/HCL | 1
181 | N9300126 | STD-AS IRON 1000PPM/HN03 | 1
182 | N9300127 | STD-AS LANTHANUM 1000PPM/HN03 | 1
183 | N9300128 | STD-AS LEAD 1000PPM/HN03 | 1
184 | N9300129 | SHELFSTD-AS LITHIUM 1000PPM/HN03 | 1
185 | N9300130 | STD-AS LUTEnUM 1000PPM/HN03 | 1
186 | N9300131 | STD-AS MAGNESIUM 1000PPM/HN03 | 1
187 | N9300132 | STD-AS MANGANESE 1000PPM/HN03 | 1
188 | N9300133 | STD-AS MERCURY 1000PPM/HN03 | 1
189 | N9300134 | STD-AS MOLYBDENUM 1000PPM/H20 | 1
190 | N9300135 | STD-AS NEODYMIUM 1000PPM/HN03 | 1
191 | N9300136 | STD-AS NICKEL1000PPM/HN03 | 1
192 | N9300137 | STD-AS NIOBIUM 100PPM/H20 | 1
193 | N9300138 | STD-AS PALLfl.DIUMlOOOPPM/HCL | 1
194 | N9300139 | STD-AS PHOSHORUS 1000PPM/H20 | 1
195 | N9300140 | STD-AS PU\TINUM lOGOPPM/HCL | 1
196 | B0507805 | Secondary Spec Mat Cal Std | 1
197 | B2500100 | Standard set pharmacopeia | 5
198 | B0508310 | TUBING PER PUMP 3.18 MM BlVWH 40cm PK/12 | 5
199 | B0193161 | YELLOV\//BLUE PUMP TUBING PK/12 | 5
200 | B0193160 | RED/RED PUMP TUBING PK/12 | 2
201 | B0508306 | PTFE MEMBRANE PK/50 | 1
202 | B0187258 | SEPARATORH.+DISTRIBUTORBL. | 1
203 | BO194048 | 200UL SAMPLE LOOP | 2
204 | B0194049 | 50pyL SAMPLE LOOP | 1
205 | B0501000 | SAMPLE LOOP-FIAS IML | 2
206 | 60190634 | MODIFIER 1% MAGNES. COMPLETE | 2
207 | 60190635 | MODIFIER 1% PALLAD. COMPLETE | 2
208 | N9303445 | M0DIFIER-NH4H2P04 MATRIX | 1
209 | N0370394 | UNIVERSAL GEMTIP NEBULIZER | 1
210 | L®P2P1 | LMBDX 95,0 D DETECTOR ASSY | 1
211 | NiMfl49 | POW.ER SUPPLAY | 1
212 |  | LP922 ANALOG BOARD | 1
213 |  | STEPPER CONTROL PCB | 1
LAMBDA 950 PERKIN ELMER za potrebe Departmana za fiziku
1 | L602-0101 | LAMBDX – SOURCE COMPT ASSY | 1
2 | B050-7267 | Grating drive, complete | 3
3 | B013-3581 | Grating, UV/VIS (1440 lines/mm) | 1
4 | B050-7271 | Grating motor, complete | 2
5 | B050-1296 | Slit and common beam, complete | 2
6 | L602-0263 | LMBDX - CHOPPER ASSY | 1
7 | B050-1282 | Depolarizer, complete | 3
8 | L602-0262 | LMBDX - PMT DET ACCY | 2
9 | B050-1292 | Reference beam attenuator | 1
10 | B016-3685 | Photomultiplier R-6872 | 1
11 | B220-0024 | Halogen lamp cable | 2
12 | B220-0025 | D2 lamp cable | 2
13 | 0999-5119 | DC-Motor 15 V with electronic Chopper | 1
14 | B220-0005 | Stepper motor VRDM 564/50 Wavelength | 2
15 | B013-3842 | Stepper motor L 30:1 Slit | 2
16 | B016-6343 | Stepper motor RDM 37 / 6 25:1 All other stepper motors | 3
17 | B220-0201 | Fan 24 V DC Power supply | 2