## Sheet1
PRILOG A KONKURSNE DOKUMENTACIJE ZA JAVNU NABAVKU – TEHNIČKA SPECIFIKACIJA - Materijal za obrazovanje i nauku - potrošni laboratorijski materijal i pribor - Specijalni laboratorijski pribor
Redni broj | Naziv dobra | Poseban zahtev | Jedinica mere | Okvirne količina | Departman | Rukovodilac projekta | Projekat
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1 | Uranjajući grejač za cca 10 lt vode sa termostatom | Podesevi termostat ili termostat na 50˙C | kom | 1 | Fizika | 171002 / 43002 / 114-451-2505/2017 / 142-451-2522/2017 | Prof. dr Ištvan Bikit / Prof. dr Ištvan Bikit / Prof. dr Nataa Todorović / Doc. dr Borislava Petrović
2 | Digitalni termometar | Za merenja temperatura 0-100˙C | kom | 1 | Fizika | 171002 / 43002 / 114-451-2505/2017 / 142-451-2522/2017 | Prof. dr Ištvan Bikit / Prof. dr Ištvan Bikit / Prof. dr Nataa Todorović / Doc. dr Borislava Petrović
3 | 4421150 Thermo Finnpippette dispanzer za boce 2-10ml | Termo Fisher Scientific | kom | 3 | Fizika | 171002 / 43002 / 114-451-2505/2017 / 142-451-2522/2017 | Prof. dr Ištvan Bikit / Prof. dr Ištvan Bikit / Prof. dr Nataa Todorović / Doc. dr Borislava Petrović
4 | 9420400 Thermo Finnpipette F-Stand stalak za 6 pipeta | Termo Fisher Scientific | kom | 1 | Fizika | 171002 / 43002 / 114-451-2505/2017 / 142-451-2522/2017 | Prof. dr Ištvan Bikit / Prof. dr Ištvan Bikit / Prof. dr Nataa Todorović / Doc. dr Borislava Petrović
5 | 300-4100 Thermo Nalgene Nosač filtera sa bocom , 500/1000 ml 117x293 mm PSF autoklavabilno | Termo Fisher Scientific | kom | 1 | Fizika | 171002 / 43002 / 114-451-2505/2017 / 142-451-2522/2017 | Prof. dr Ištvan Bikit / Prof. dr Ištvan Bikit / Prof. dr Nataa Todorović / Doc. dr Borislava Petrović
6 | Ditigalna štoperica |  | kom | 3 | Fizika
7 | Fitilj za špiritus lampu |  | kom | 2 | Fizika
8 | Gmena pumpica sa crevom |  | kom | 1 | Fizika
9 | Pinceta ravna-metalna, 12-15cm |  | kom | 3 | Fizika
10 | Gumeni čep za eprevetu |  | kom | 10 | Fizika
11 | Elektroda za konduktometar do 30 milisimensa |  | kom. | 1 | Hemija, biohemija i zaštita životne sredine | dr Slobodan Gadžurić, dr Milan Vraneš | ON172012, 114-451958/2015-02
12 | Thermometer Pocket-Digitemp |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | dr Slobodan Gadžurić, dr Milan Vraneš | ON172012, 114-4512373/2011-01
13 | kivete za spektrofotometar | kvarcne, 10 mm | kom | 4 | Hemija, biohemija i zaštita životne sredine | dr Slobodan Gadžurić, dr Milan Vraneš | ON172012, 114-451958/2015-03
14 | Guč poroziteta B4- prečnik pločice 30mm,visina 60mm,sadržaj 30ml |  | kom | 1 | Hemija, biohemija i zaštita životne sredine | dr Slobodan Gadžurić, dr Milan Vraneš | ON172012, 114-4512373/2011-02
15 | Špatula sa drvenom drškom 135 mm |  | kom | 3 | Hemija, biohemija i zaštita životne sredine | dr Slobodan Gadžurić, dr Milan Vraneš | ON172012, 114-451958/2015-04
16 | Flask, 25 cm2 | SARSTEDT, T25, Standard, sterile, REF 83.3910 | PAK/300 KOMADA | 1 | Hemija, biohemija i zaštita životne sredine | DR Velimir Popsavin, dr Marija Sakač | 172006, 172021
17 | Carbon Deionization Deionization Organis Adsorption | 9047201 Labconco | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
18 | Flow Control Valves for Visiprep SPE Vacuum Manifold | 57032, Supelco | pak | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
19 | Teflon Solvent Guide Needles | 57047, Supelco | pak | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
20 | Air refrigerator with ground cone | A00001041 | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
21 | Anaerobic jar | 28029 FLUKA | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
22 | Antisplash bell | A00001045 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
23 | Avan sa tuckom Ø150mm |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
24 | Avan sa tuckom Ø75mm |  | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
25 | Avan sa tučkom, 500 ml | ROTH PY56.1 | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
26 | Büchner funnels 127 C | ROTH 1583.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
27 | Büchner funnels 127 C | ROTH 1581.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
28 | čaure za ekstrakciju, Whatman extraction thimbles, 25X80mm | pak 25 kom | pak | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
29 | čaure za ekstrakciju, Whatman extraction thimbles, 33X90mm | pak 25 kom | pak | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
30 | CellOx 325, WTW Or.No. 201 533 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
31 | Chromatography columns, without frit | ROTH kat.broj Y669.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
32 | Chromatography columns, without frit | ROTH kat.broj Y670.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
33 | Cond 3110 SET 1, WTW Or.No. 2CA101 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
34 | Deionization Cartridge | 9007301 Labconco | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
35 | Desikator, sa poklopcem i slavinom, oko 10.5 l |  | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
36 | Desikator, sa poklopcem i slavinom, oko 2.4 l |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
37 | Eksikator Ø250mm |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
38 | FDO 925-3, WTW Or.No. 201 301 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
39 | Guč poroziteta B4- prečnik pločice 30mm,visina 60mm,sadržaj 30ml |  | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
40 | Hromatografske kolone za SPE, 6 ml |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
41 | Kal.Kit. Turb 430IR, WTW Or.No. 600 560 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
42 | Keramička kašika |  | kom. | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
43 | kivete za spektrofotometar | kvarcne, 10 mm | kom | 3 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
44 | Levak po Buchner-u, porcelan, 110mm prečnik |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
45 | Micro-spoon spatulas, spoon shape, 7 mm | ROTH YP97.1 | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
46 | Micro-spoon spatulas, spoon shape, 7 mm | ROTH YP99.1 | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
47 | Non-Elutriating replacement plug, 12mm | 01643-7734 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
48 | Non-Elutriating replacement plug, 6mm | 01642-7733 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
49 | Non-Elutriating replacement plug, 9mm | 01641-7732 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
50 | Oasis HLB Cart, WATERS | 6cc/500mg 60um pak/30 kom | pak | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | pokrajinski projekat 114-451-2263/2016-02 (j. Agbaba)
51 | Oasis MCX Cart, WATERS | 3cc/60mg 60um pak/100 kom | pak | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
52 | Open spoon | ROTH K734.1 | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
53 | Organic Adsorption Cartridge | 9053300 Labconco | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
54 | pH 3110 SET 2, WTW Or.No. 2AA112 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
55 | PK60 REPLACEMENT TEFLON FRITS | Supelco | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
56 | Precision tweezers, angled | ROTH LH60.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
57 | PTFE Frit, 20 μm porosity for use with 6mL glass SPE tubes, pk of 60 | 504327 Supelco, pak/60 kom | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
58 | Quantachrome instruments | Sample cell (AS-iQ), stem 12 mm, bulb 25 mm | kom | 3 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
59 | Quantachrome instruments | Sample cell (AS-iQ), stem 9mm, bulb 15 mm | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
60 | Quantachrome instruments | Sample cell (AS-iQ), stem 9mm, bulbless | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
61 | Quantachrome instruments | ASiQ filler rod 12mm cell | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
62 | Quantachrome instruments | ASiQ filler rod 9mm cell | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
63 | Reverse Osmosis Membrane | 9078700 Labconco | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
64 | sample spoon | ROTH APC9.1 | kom | 5 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
65 | SenTix 41, WTW Or.No.103 635 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
66 | SenTix 940-3, WTW Or.No. 103 741 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
67 | Septa ⌀ 22 mm | ROTH LC98.1 | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
68 | Set za membransku filtraciju | Roth XT09.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
69 | SNOOP® Liquid Leak Detector,8 oz. (236 mL) bottle | 20434 Supelco | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
70 | spoon spatula | ROTH C749.1 | kom | 4 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
71 | Swinnex®-filter holders (pak 8 kom) | ROTH XE88.1 | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
72 | teflonske slavine, 12.5x28mm |  | kom | 5 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
73 | TetraCon 325, WTW Or.No. 301960 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
74 | TetraCon 925-3, WTW Or.No. 301 711 | WTW | kom | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
75 | Titanium flat tim dia 13 mm | Monmouth Scientific | kom. | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
76 | Ultra cyano column (200mm×4.6mm i.d.), Agilent technologies | Agilent | kom. | 1 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
77 | VITEK Gram negative bacteria identification card VITEK 2 GN ID card Reference number 21341 | predlog dobavljaca: Promedia | kom | 3 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
78 | Waters Oasis HLB cartridge 6cc/150mg 60µm 30/box, WATERS 186003379 |  | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
79 | Weighing scoops,stainless steel,95mm |  | kom | 3 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
80 | Soxhlet Extraction Apparatus, GLACIER 246.2008.19 consists of Flask, Extractor and condenser Extractor cap. (ml) 5000 ml, Extractor Socket 55/44, Extractor Cone 34/35, Flasks Cap, Flat bottom 10000 ml, NB 34/35, Condensor Type ALLIHIN | GLACIER 246.2008.19 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
81 | Vacuum filter units MV 050 Carl Roth CC09.1 | CC09.1 | kom | 2 | Hemija, biohemija i zaštita životne sredine | B.Dalmacija, S.Rončević, I.IvančevTumbas, J.Agbaba, M.Bečelić-Tomin, D.Krčmar | III43005, TR37004, ON172028, APV 114-451-418/2015-03, APV 114-451-199/2015-03, transfer, pokrajinski projekti
82 | cell culture flasks, growth surface 75 cm2, hydrophobic membrane (pore size 0.2 µm) for minimal risk of contamination and optimal gas exchange, angled neck, sterile, PS, graduations, DNase, RNase and human DNA free, roth cat no CE49.1 | 120 flask/pack | 120 flask/pack | 1 | hemija | prof. dr Neda Mimica-Dukić | 172058
83 | cell culture plate inserts pore size 0.4 μm, diam. 30 mm, tissue-culture treated, sterile, for 6-well plates, clear, sigma aldrich cat no Z354996-50EA | 50 inserts/pack | 50 inserts/pack | 1 | hemija | prof. dr Neda Mimica-Dukić | 172058
84 | Capp ExpellPlus 10ul Universal Tips, Low Retention, Bulk Bag 1000 tips/pk, Capp Denmark cat no 5030010 | 1000 pipettes/bag | 1000 pipettes/bag | 5 | hemija | Prof. dr Neda Mimica-Dukic | 172058
85 | CAPP ExpellPlus 10 µl Graduated Racked Tip, Ultra Low Retention, Sterile, 96 tips/rack, 10 racks/pack, (PACK OF 960 TIPS), Capp Denmark cat no 5030020 | 10 racks/pack | 10 racks/pack | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
86 | Nunc® EasYFlasks™, Nunclon® Δ Surface Nunclon® Δ surface treatment, 25 cm2 angled neck, vent/close cap, 200/cs, Sigma Aldrich cat no F7177-1CS | 200 flasks/pack | 200 flasks/pack | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
87 | Purelab Option-Q 7/15 pre-treatment cartridge LC140 |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
88 | Purelab Option-Q 7/15 ion-exchange cartridge LC163 |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
89 | Purelab Option-Q 7/15 CT1 sanitization tablets |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
90 | Mini-PROTEAN® Tetra Cell Casting Stand with Clamp Kit for 2 Core System #1658051, BioRad |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
91 | Mini-PROTEAN® Comb, 10-well, 1.0 mm, 44 μl - 1653359, BioRad |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
92 | Mini-PROTEAN® Short Plates - 1653308, BioRad |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
93 | Mini-PROTEAN® Spacer Plates with 1.0 mm Integrated Spacers - 1653311 |  | kom | 1 | hemija | Prof. dr Neda Mimica-Dukic | 172058
94 | Zasićena kalomelska elektroda | Amel 303/SCG/12J | kom. | 1 | HEMIJA | Valerija Gužvanj i Slobodan Gadžurić (za Valeriju Gužvanj) | ON 172059 i ON 172012
95 | Membrane za kiseoničnu elektrodu; set od 5 membrana | HI 76407 A/P HANNA instruments | kom | 1 | Biologija i ekologija | Prof. dr Branko Miljanović | Transfer
96 | Rastvor za punjenje kiseonične, DO, elektrode, 30ml | HI 7041 S HANNA Instruments | kom | 1 | Biologija i ekologija | Prof. dr Branko Miljanović | Transfer
97 | Rastvor za kalibraciju nule kiseonične elektrode, 500 ml | HI 7040L HANNA Instruments | kom | 1 | Biologija i ekologija | Prof. dr Branko Miljanović | Transfer