## STAKLO
PRILOG A KONKURSNE DOKUMENTACIJE - TEHNIČKA SPECIFIKACIJA - Materijal za obrazovanje i nauku - potrošni laboratorijski materijal i pribor, Potrošni laboratorijski pribor, po partijama
Broj partije | Naziv | Jed. Mere | Količina | Poseban zahtev*
1 | #HK 47.1 :Glass fibre round filters MN 85/70 BF 45 mm, pak/100 kom | kom | 10 | ROTH
2 | 6-well plate, Corning, non-pyrogenic, polystyrene, cls3506-100EA | 100 pcs/pack | 1 | 100 pcs/pack
3 | 96 well plates, flat bottom, clear, polystyrene, M2936-100EA | kom | 1
4 | 96-well plate, PS, flat bottom, sterile, grainer 655161 | 100pcs/pack | 1 | 100 pcs/pack
5 | adapters for 10/15 mL tubes in 50 mL rotor, 6/cs, sigma aldrich cat no CLS480140-6EA | 6 adapters/pack | 1 | 6 adapters/pack
6 | Adapters with NS-stopcock, Bent tubing olive (90), 14/23 | kom. | 2 | Roth, CC28.1
7 | Adapters with NS-stopcock, Bent tubing olive (90), 29/32 | kom. | 3 | Roth, CC31.1
8 | Adapters with olive , Bent tubing olive (90), 14/23 | kom. | 2 | Roth, CA84.1
9 | Adapters with olive , Bent tubing olive (90), 29/32 | kom. | 3 | Roth, CA87.1
10 | Applied Biosystems, 4306737, MicroAmp Optical 96 – well Reaction Plates with Barcode, 20/pkg | pakovanje od 20 | 5 | Applied Biosystems
11 | Applied Biosystems, 4311971, MicroAmp Optical Adhesive Covers;100/pkg | pakovanje od 100 | 1 | Applied Biosystems
12 | BALON 10 L HDPE,9139934,LLG | kom. | 2 | 10 l
13 | bočice za uzorkovanje; ROTH 10ml, šifra LC83.1 | kutija od 100 komada | 6 | ROTH
14 | bočice za uzorkovanje; ROTH 15ml, šifra LC84.1 | kutija od 100 komada | 5 | ROTH
15 | Brand pipette tips, 1000 uL, ref. no. 732032 | 5000/pack | 1 | 10 bags of 500 pipettes
16 | Capp ExpellPlus 10ul Universal Tips, Low Retention, Bulk Bag 1000 tips/pk, Capp Denmark | 1000 pipettes/bag | 2 | 1000 pipettes/bag LLG-cat no 5030010
17 | Carl Roth Micro Powder Spatula Set 160mm AT17.1 | set | 1 | Carl Roth
18 | Cell Culture Flasks, non-treated, non-pyrogenic, capacity 70ml | komad | 20
19 | Cellulose acetate Membrane Filter; Pore size (µm): 0.45; Diameter (mm): 47 | kutija (600 pcs/pk) | 1 | AMTAST; MFCA047045
20 | Cellulose Nitrate CN Membrane Filters, 0.22 um, 25mm, Nonsterile, 200 per pack | pak | 1 | tisch scientific, 200 in 1 SF 18171
21 | Cellulose nitrate filter 0.45 um | pak | 5 | sartorius stedim biotech, 100 in 1 11406-50-ACN
22 | centrifuge tubes, PP, with green screw cap, sterile, singled packed, conical, with gradiation and marking area, DNase and RNase free, diam 30 mm, height 120 mm, capacity 50 mL, LLG cat no 9.316 064 | 50 tubes/pack | 10 | 50 tubes/pack
23 | Column or fused silica cutter with rotating Diamond Blade | kom | 1 | Agilent
24 | Conical joint 14 yellow | pak. | 1 | Roth, 1165.1
25 | copper tape - 12.5 mm x 16 m, code AGG253 | kom. | 1 | agar scientific
26 | Cotton wool roll, 500g, absorbent, 9.413 155 | kom | 2
27 | Čep GL45 crveni; +180C s rupom 34mm; Duran | komad | 20 | Ru-Ve: 540487
28 | četke za čaše | kom | 10 | R50 mm
29 | četke za epruvete | kom | 10 | R10mm
30 | Disposable reaction tubes 2 ml | pakovanje od 500 kom | 2 | Brand
31 | EM-Tech 5X.AM high precision reverse action tweezers style 5, extra fine straight tips, anti-magnetic stainless steel, code 50-001750 | kom. | 1 | Labtech serving scientists
32 | Eppendorf™ Autoclavable Safe-Lock Micropestle. Micropestles feature two sides for optimal fit in 1.5 and 2.0mL vessels, Eppendorf™ 0030120973, | pakovanje od 10 kom | 1 | Eppendorf
33 | Epruv.plast. Ster. Sa zap.graduisana 15ml, Sarsted 62.554.502 | pak | 10 | Sarsted 62.554.502
34 | Epruveta 15 ml, 120x17mm,konusna, graduisana, sa zapusacem, polipropilen, sterilna, | pakovanje od 50 kom | 10 | Sarstedt 62.554.502
35 | Epruveta. Plasticna, Ster. 50 ml(bez stope), Sarstedt, 62.547.254 | kom | 400 | Sarstedt, 62.547.254
36 | Epruvete sa zapušačem 5ml, sterilna | pakovanje od 100 kom | 10 | Sarstedt 55 475 001
37 | Expell 5130130C, 1000µl,clear, bag, 1000/1pcs | 1000 kom/kesa | 2 | Expell 5130130C
38 | Expell plus 5030040C, 10µl long, clear, bag 1000/1 pcs | 1000 komada u kesi | 3 | Expellplus 5030040C
39 | Expellplus 200µl 5131090 Capp | 1000 kom u kesi | 2 | 5131090 Capp
40 | Expellplus 5131060C, 10µl long, bag, presterile w/filter, 1000/1 pcs | 1000 komada u kesi | 2 | Expellplus 5131060C
41 | FILTER PAPIR FI 110MM,CRNA TRAKA, KVALITATIVNI | 100/pak | 15 | LLG, 9045831
42 | FILTER PAPIR PLAVA TR. 110MM,KVALITATIVNI | kom | 20 | LLG, 6242672
43 | Filter papir, Tip:651/120 | pak | 1 | Format/size: 58x58 cm Macherey Nagel, Germany
44 | Filter papir, Whatman 44, prečnik 110 mm, 100/pk, filter papir, sigma-aldrich (Merck) WHA1444110 | pak | 2
45 | Filter za špric 0.22μm, Ø33 mm kat. Br. P668.1 | 50/pak | 1 | Carl Roth
46 | Gilder grid compact storage box, numbered, code SB25N | pak. | 2 | agar scientific
47 | Glass fibre round filters MN 85/70 BF 45 mm, ROTH HK47.1(pak/100 kom) | pak | 5 | FILTER PAPER CIRCLES MN 85/70 BF, 45 MM ,6901000,LLG
48 | Gloves ergo, nitrile, powder-free, size L, 200/pk, 9.006 373 | kom | 3 | LLG-
49 | Gloves ergo, nitrile, powder-free, size M, 200/pk, 9.006 372 | kom | 8 | LLG-
50 | Greiner bio-one, 616201, PCR tubice 1.5 ml, polypropilen, DNase RNase free | Pakovanja od 500 komada | 5 | Greiner bio-one, 616201
51 | Greiner Bio-one, 667201, PCR tubice, 0.5 ml, flat cap, natural | pakovanje od 500 | 1 | Greiner Bio-one
52 | Hi. PErf. Glass Vial, foil -lined | pak | 2 | Perkin Elmer, case of 500 6000128
53 | Holey carbon films on 300 mesh copper grids (pack of 50 kom.), code AGS147-3 | pak. | 1 | agar scientific
54 | INDIKATOR PAPIR PH 0-14 | pak | 16 | LLG,9129807
55 | Kapilare (ringcaps® disposable capillary pipettes 10μl) | pak. | 1 | Carl Roth A757.1
56 | Laboratorijska boca 150 l GL45 bez čepa ;Duran | komad | 20 | Ru-Ve: 727786
57 | LLG-Microtubes 1.5 ml, non-sterile, clear, with lid, PP, DNase, RNase and pyrogen free, pack of 1000, 9409024 | pakovanje od 1000 kom | 4 | LLG Labware
58 | magneti | paket | 15 | MAGNET 30 X 8 MM, PAK 10 KOM,LLG,9198767
59 | Magnetic stirring bar 20x6 mm, PTFE, cylindrical, 9198920 | pakovanje od 10 | 1 | LLG Labware
60 | Magnetic stirring bar "Economy", 50x8 mm, PTFE, cylindrical, 9198950 | pakovanje od 10 | 1 | LLG Labware
61 | Magnetna jezgra (0994.1) pak/10kom, MAGNET 10 X 6 MM, 9198910,LLG | pak | 1
62 | Membranski filteri, 0.45µm promer pora, nitrocelulozni sterilni, pojedinačno pakovani | 100 kom | 3 | Sartorius™ 13006--47----ACN
63 | Membranski filtri, Millex-GV13, 0,22 mm, diameter 13 mm, membrana Durapore PVDF, nesterilni, hidrofilni 100/pk, PVDF MEMBRNE 0.22UM, 13MM,A200,M13PVB022,AMTAST | pak | 5
64 | Microtubes 1.5ml 9409024, LLG | pakovanje 1000 komada | 6 | LLG, 9409024
65 | Microtubes 2ml 9409025, LLG | pakovanje 1000 komada | 3 | LLG, 9409025
66 | MIkrotitar ploče sa 96 ravnih velova, sterilne | pakovanje od 50 kom | 4 | Kartell
67 | mikrotitar pločice 96-well ravno dno | pakovanje od 50 kom | 1
68 | Mikrotuba 2 ml (Microcentrifuge tubes 2 ml) | pak. | 3 | Carl Roth CK06.1
69 | Mikrotube 1.5 ml (Mµlti®-safety microcentrifuge tubes) | pak. | 3 | Carl Roth 7080.1
70 | Mikrotube 1.5 ml, nesterilene | pakovanje od 1000 kom | 2 | Sarstedt 72690001
71 | Nastavak za pipete od 50 do 1000 µl, 0030 000.927, 1000 kom, Eppendorf | pak | 1 | NASTAVCI epTIPS 50-1000ul,0030000927,EPPENDORF
72 | Nastavci plavi 50-1000u1/500kom | pak/1000 kom | 4 | Brand- Sigma z332925 2PAK
73 | Nastavci za automatsku pipetu (37 Mµlti® UNIVERSAL 1-200 µl) | pak. | 2 | bulk-packed (bag), non-sterile, Carl Roth 8156.1
74 | Nastavci za automatsku pipetu (40 Mµlti® UNIVERSAL 100-1000 µl) | pak. | 2 | bulk-packed (bag), non-sterile, Carl Roth 8163.1
75 | Nastavci za automatsku pipetu 0,5-20u1/1000 kom BRAND | pak/1000 kom | 4 | Brand
76 | Nastavci za automatsku pipetu 0,5-20u1/1000 kom BRAND | pak/1000 kom | 1 | Brand
77 | Nastavci za automatsku pipetu/ Eppendorf Tips, 0.1-10μl | pakovanje od 1000 | 1 | Eppendorf
78 | Nastavci za transfer pipetu, 100-1000 uL | kom | 1000 | NASTAVCI PLAVI 100-1000 Ul,llg,6206142
79 | Nastavci za transfer pipetu, 10-200 uL | kom | 2000 | NASTAVCI ZUTI 2-200ul,llg,6206251
80 | Nastavci za transfer pipetu, 1-10 uL | kom | 1000 | THERMO QSP 10 nastavci 10ul, dugi, set=1000kom,THERMO, 102-Q
81 | Nastavci žuti 2-200ul BRAND | pak/1000 | 4 | Brand
82 | NMR tube caps | pak. | 1 | Sigma Aldrich Z153273-100EA
83 | odgovarajući plastični čepovi ROTH, šifra LC87.1, ND22 za bočice za uzorkovanje (ROTH od 15ml i 10ml, tj. za date šifre LC84.1 i LC83.1) | pakovanje od 100 | 11 | ROTH
84 | Papirna vata | kom | 13 | VATA PAPIRNA 1KG,AGAVA,20202
85 | Parafilm |  | 3 | Sigma-Aldrich, kat.br. P7668-1EA
86 | PARAFILM M SEALING FILM 100mmX38m,9170002,LLG | kom | 6 | Roth, H666.1
87 | Pasterove pipete 10ml, nesterilne, graduisane | ком | 50 | bez posebnog zahteva
88 | Pasterove pipete 5ml, nesterilne, graduisane | ком | 50 | bez posebnog zahteva
89 | PCR 96-well plate, Dnase-Rnase free, suitable for qPCR, | 50 pcs/pack | 1 | 50 pcs/pack
90 | PCR tube 0.2 ml (PCR tubes with flat cap) | pak. | 1 | Carl Roth CEL6.1
91 | PCR tube 0.5 ml (Mµlti®-safety microcentrifuge tubes) | pak. | 2 | Carl Roth 7060.1
92 | PCR Tube 2,0ml , Pak 1000 kom, 6510856*LLG | pakovanje od 1000 | 1 | 6510856*LLG
93 | PCR tubes 0.2 ml, transparent, flat cap, single, 9409371, LLG | pakovanje od 1000 kom | 1 | Brand
94 | PCR tubes with attached cap, flat cap, PP, Compatible with all major thermal cyclers, 0.2 mL, RNase, DNase and DNA free. autoclavable, suitable for qPCR, | 1000 pcs/pack | 1 | 1000 pcs/pack LLG catalog no 9.409 371
95 | PCR tubice 0.2 ml, Dnase, Rnase free | pakovanje od 1000 kom | 3 | Greiner Bio-One 683201
96 | PCR tubice 0.2ml, Greiner Bio-One 683201, PCR clean | pakovanje od1000 komada | 3 | Greiner Bio-One 683201
97 | PCR tubice 0.5ml, Greiner Bio-One 682201, PCR clean | pakovanje od 1000 komada | 3 | Greiner Bio-One 682201
98 | PCR tubice 1.5 ml, polypropilen, DNase RNase free | pakovanje od 1000 kom | 2 | Greiner bio-one, 616201
99 | PCR tubice 1.5mL, PCR clean | pakovanje od 1000 kom | 3
100 | Pipette tips ep T.I.P.S 0.1-10UL, Z640069 | pakovanje od 1000 kom | 1 | Eppendorf
101 | Pipette tips ep T.I.P.S 2-200 UL, Z640093-1000EA | pakovanje od 1000 kom | 2 | Eppendorf
102 | Pipette tips epT.I.P.S. Standard 20 ul - 300 ul, Z640107-1000EA | pakovanje od 1000 kom | 1 | Eppendorf
103 | Plastični špricevi sa gumenim klipom 2ml (luer slip tip) | pak | 4 | SPRIC 2ML TRODELNI STER.,0220,DINE TRADE
104 | Plastični šric 10 ml, sterilan | kom | 50 | SPRIC, 10ML,1033,DINE
105 | Ploce za sadjenje celija 96 well, BioLite plates, flat bottom, sterile BioLite , 130188 | kom | 100 | BioLite, 130188
106 | Poklopci za mikrotitar ploče sa 96 velova | pakovanje od 50 kom | 4 | Kartell
107 | pokrovna stakla 18*18 za anatomske preparate (debljina 0,13 - 0,17) | pakovanje od 50 kom | 10 | bez posebnog zahteva
108 | pokrovna stakla 18*18 za anatomske preparate (debljina 0,13 - 0,17), šifra Laboratorija 100631 | pakovanje/kutija od 100 komada | 10 | bez posebnog zahteva
109 | pokrovne ljuspice 24x24 | 1 kutija od 100 kom | 4 | Menzel-glaser
110 | pokrovne ljuspice 24x50 | 1 kutija od 100 kom | 51 | Menzel-glaser
111 | predmetna stakla | pakovanje od 50 kom | 10 | bez posebnog zahteva
112 | predmetne pločice 76x26 | 1 kutija od 50 kom | 4 | Menzel-glaser
113 | predmetne pločice matirane, obrubljene | 1 kutija od 50 kom | 100 | Menzel-glaser
114 | PTFE syringe membrane filters, pore size: 0,45μm, diameter: 13 mm, luer tip, 200/pk | kom | 6 | SYRINGE FILTER PTFE 13mm 0,45 /100KOM/,AMTAST.SFPTFE013045
115 | Pumpica za biretu sa crevom | kom | 2 | GumenaLLG 9.270 995
116 | Purelab Option-Q 7/15 ion-exchange cartridge LC163 | kom | 1 | cartridge LC 163 , Purelab
117 | Purelab Option-Q 7/15 pre-treatment cartridge LC140 | kom | 1 | cartridge LC 140 , Purelab
118 | PVC bočice | kom | 200 | BOCA SG 100 ML, PE ,LLG,9072951
119 | Reaction tube PP, Dnase-Rnase free 1,5 mL | 1000 pcs/pack | 4 | 1000 pcs/pack , LLG Cat. No 9.409 024
120 | Reaction tube PP, Dnase-Rnase free 2.0 mL, | 1000 pcs/pack | 4 | 1000 pcs/pack LLG Cat. No 9.409 025
121 | Regenerated cellulose filter membranes, pore size 0.45 µm, diameter 47 mm, 100/pk | pak | 10 | MEMBRANE RC 47MM, 0,45UM,M47RC045,AMTAST
122 | Regenerated cellulose syringe membrane filters, pore size: 0,45μm, diameter: 13 mm, luer tip, 200/pk | kom | 3 | SYRINGE RC 0.45UM,13MM,100KOM,AMTAST,S13RC045
123 | Rotilabo fibre glass syringe filters | pak. | 1 | Roth, KC99.1
124 | Rotilabo®-magnetic stirring rods with centre ring | pak. | 1 | Carl Roth 1489.2
125 | Sarstedt, 72.1979.202, Real-Time PCR ploce set =25 kom | pak | 1 | Sarsted 72.1979.202
126 | Sarstedt, 95.1994, Transparent PCR and qPCR Sealing Tape, optically clear, set=100 kom | pak | 1 | Sarsted 95.1994
127 | Septa za čep GL45 42 m silikonska ; Duran | komad | 20 | Ru-Ve: 430057
128 | Serological pipette 5 ml, PS, plugged, sterile, individually packed | set 50 kom | 10 | Sarstedt 86.1253.001
129 | Serological pipette, 25 mL, graduation 2/10, sterile, individually packed paper/plastic packaging | set 25 kom | 4 | Sarstedt 861685 001
130 | Serological pipettes, 10 mL, PS, 1/10 orange ring, sterile, individually wrapped | 200/ pak | 2 | 200 pipettes/bag , LLG cat no 7.930 402
131 | Serological pipettes, 25 mL, PS, 2/10 red ring, sterile, individually wrapped, | 150/ pak | 2 | 150 pipettes/bag LLG cat no 7.930 403
132 | Sijalica za polarizacioni mikroskop - Bulb 6V 15W 2.5A Tungsten | kom | 4 | Carl Zeiss
133 | SPATELSORTIMENT IM ETU,7078169,LLG | kom | 1 | Carl Roth
134 | SPE Cartridge, Oasis HLB 60um Cart 6cc,/150 mg, 30/PK | 30/PK | 2 | Waters
135 | Spektar, 0319, Nastavak za automatsku pipetu 5-200µl (žuti, nesterilan) | pakovanje od 1000 | 1 | Spektar Čačak
136 | SPRIC BOCA 500mL | kom | 10 | LLG,9223502
137 | standardna predmetna stakla brušenih ivica za anatomske i morfometrijske preparate | pakovanje/kutija od 50 komada | 70 | bez posebnog zahteva
138 | Sterile CN Membrane Filter,White gredded | pak/100 | 3 | Sartorius, 11 406-47-CAN, 0,45μm, PAK 100
139 | Sterilni filteri za špric (Rotilabo®-syringe filters, sterile 0.22μm) | pak. | 1 | Carl Roth KH54.1
140 | Suction cap, transparent, natural rubber | 100 kom | 1 | Carl Roth, 8404.1
141 | Super polyethilene vial 20 ml | pak | 1 | Perkin Elmer, case of 1000 6001087
142 | syringes, 2 part, sterile, individualy packed, 50 mL | 100/ pak | 5
143 | syringes, 2 part, sterile, individualy packed, 20 mL | 100/ pak | 5
144 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter PES; steril; φ 33 mm, pore 0,22 μm
145 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter CME; steril; φ 33 mm, pore 0,22 μm
146 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter PVDF; steril; φ 33 mm, pore 0,22 μm
147 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter PES; steril; φ 33 mm, pore 0,45 μm
148 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter CME; steril; φ 33 mm, pore 0,45 μm
149 | Špric filteri | Pakovanje od 50 komada | 1 | ROTH Rotilabo®-Spritzenfilter PVDF; steril; φ 33 mm, pore 0,45 μm
150 | TEFLON TUBING,6,0 X 1,0 MM WALL, P.M | 5m/pak | 1 | 6205672, LLG
151 | Tuba 15 ml (CELLSTAR®-centrifuge tubes, transparent, without rim) | pak. | 1 | Carl Roth XH97.1
152 | Tuba 5 ml (5 ml reaction vials) | pak. | 1 | Carl Roth EKY4.1
153 | Tuba 50 ml providna, graduisana (CELLSTAR®-centrifuge tubes, transparent, without rim) | pak. | 1 | Carl Roth XH98.1
154 | Tube 50ml, 115x28 mm, konusna sa stopom i nav. zatvar, graduisana, polipropilen (PP), sterilna, set 25 kom, 62.559.001 | pakovanje od 25 | 7 | Spektar Čačak
155 | Tube 50ml, 115x28 mm, konusna sa stopom i nav. zatvar, graduisana, polipropilen (PP), sterilna, set 25 kom, 62.559.001 | pakovanje od 25 | 10 | Spektar Čačak
156 | Undeactivated Fused silica tubing , ID 0.02 mm, OD 0.36 mm, L 5 m | kom | 1 | Agilent
157 | Universal indicator sticks pH-Fix, with testing area made of indicator drenched cellulose, pH range 0-14, 0549.2 | pakovanje od 100 trakica | 1 | Carl Roth
158 | Waters Oasis HLB cartridge 6cc/150mg 60µm, 186003379 | 1 pak/30 komada | 1 | 186003379
159 | Mohs Hardiness Testing Pencil Set | pak | 1 | EA91325 Timstar
160 | Nalgene® bottle-top sterile filter units capacity 500 mL, pore size 0.2 μm, fits 45 mm bottle neck,Polystyrene body with graduations. Membrane is polyethersulfone (PES), offering higher aqueous flow rates, lower extractables (no wetting agents), lower protein binding, and greater strength, capacity and chemical resistance than cellulose acetate, nitrocellulose or nylon. Sterile. 12 pieces per pack, Z358223-12EA | pak | 1 | Sigma Aldrich